Requirements for Cage Wash and Autoclave

| GENERAL CONSIDERATIONS |  |  |
| --- | --- | --- |
| Requirement | Yes/No | Comments/Resources |
| - Area is overall, clean, organized and free of clutter - Documentation that cage wash/autoclave temperatures are adequate - Appropriate clean cage storage that is separate from dirty cages - Noise – is ear protection available? - Is PPE, including eye protection, available and accessible? - Carts are clean, stable, and rust-free, with no jagged edges - All cleaning items are stored off the floor, visibly clean and in working condition, and dedicated for the room - Appropriate waste containers – leak proof, disposable liner, lid in place - Bedding is stored off the floor, all bags intact - Autoclave quality monitoring procedures are implemented, including routine spore testing - Mechanical washer / autoclave function should be maintained to ensure proper function |  |  |
| IMPORTANT CONSIDERATIONS FOR WALK_IN RACK WASHERS AND AUTOCLAVES |  |  |
| Requirement | Yes/No | Comments/Resources |
| Safety plan in place for walk-in cage/rack washers and bulk sterilizers - The plan addresses: - ease of egress - a de-energizing* mechanism, and - personnel training - Documentation of training of safety procedures must be in place - Safety plan uses buddy system, explosion relief door latches, and/or lock out system. - Signage is present explaining risks and appropriate procedures |  | AAALAC Position Statement - Safety Requirements for Walk-In Cage/Rack Washers and Bulk Sterilizers |